## TYPE OF SCHEDULE_TEMPLATE
No. | Description | Specification |  | Design | Supplier Proposed Specification | Supplier Proposed Design | Supplier Proposed Brand / Model | Unit | Rate | Qty | Amount
1 | Basin | Description: | Counter washbasin in |  |  |  |  | No |  | 626
White Europe Ceramic
with overflow waste.
Overflow cap included in
080 finishings. Include
with 1 1/4" brass chromed
fast flow anti-stagnation,
anti-backflow and
anti-odour dry waste
system with 350mm
overflow L-pipe.
Code
|  | Basin: | Gessi 37504.518
|  | Fitting: | Orion DW-BCP-32R
|  | Finish: | 518 White Europe Ceramic
|  | Origin: | Italy
2 | Basin | Description: | Standing washbasin in |  |  |  |  | No |  | 36
Ceramilux® (bright white)
with floor fixing and
waste. Syphon included.
|  | Code: | Gessi 37501.518
|  | Finish: | 518 White Europe Ceramic
|  | Origin: | Italy
3 | Undermount | Description: | Kadelwei (Germany) |  |  |  |  | No |  | 307
Bathtub
|  | Code: | 624A-FL (Drop-In)
|  | Material: | Dyna Set Steel
Enamel 3.5mm
|  | Size: | 1500mm (L) x 750mm (W)
x 430mm (D)
|  | Accessories: | With anti slip
5855 Dyna Set Star Handles
Trend A1080 Bath Waste
Trend A1015-12 P Trap
|  | Finish: | White colour
Bath Pedestal
|  | Code: | 5030-FL
|  | Features: | - 2 pair of height-
adjustable screw-type feet
- Simple mounting on
bath cams
- Feet are sound-proofed.
Optimum sound proofing
in accordance with DIN
4109/A1 in conjunction
with the kaldewei BWS
sound insulating set
|  | Access panel: | ALPRO (ITALY) - By Flowline
|  | Code: | ALPRO 2000-FL
|  | Features: | - from 6" x 6" up to 18" x
40" approx max. 10 kg
- 2 joint brackets with
adjustable magnets
(adhesive load á 4 kg)
- 2 magnet contact plates
4 | Bathtub | Description: | Claybrook #H33102 Skye |  |  |  |  | No |  | 4
free standing composite
stone bath c/w bath
drain set
|  | Code: | #H33102
|  | Colour: | Dover White (DW)
|  | Size: | 1800mm(L )x 900mm(W)
x 500mm(H)
5 | Undermount | Description: | Kadelwei (Germany) |  |  |  |  | No |  | 2
Bathtub
|  | Code: | 114-FL (Drop-In)
|  | Material: | Classic Duo Steel
Enamel 3.5mm
|  | Size: | 1900mm (L) x 900mm (W)
x 430mm (D)
|  | Accessories: | With anti slip
4002 comfort-level
5030 allround bath
pedestal
560970000999 single side
handles
|  | Finish: | White colour
Bath Pedestal
|  | Code: | 5030-FL
|  | Features: | - 2 pair of height-
adjustable screw-type feet
- Simple mounting on
bath cams
- Feet are sound-proofed.
Optimum sound proofing
in accordance with DIN
4109/A1 in conjunction
with the kaldewei BWS
sound insulating set
|  | Access panel: | ALPRO (ITALY) - By Flowline
|  | Code: | ALPRO 2000-FL
|  | Features: | - from 6" x 6" up to 18" x
40" approx max. 10 kg
- 2 joint brackets with
adjustable magnets
(adhesive load á 4 kg)
- 2 magnet contact plates
6 | WC | Description: | Wall hung WC (6 litres) in |  |  |  |  | No |  | 349
White Europe Ceramic,
integrated siphon. Soft-
closing hardware and
included lateral holes
plugs in 080 finishings with
Wisa W-XS EX built-in
cistern 3/6L XS Control
Panel Delos Glass DF-
White.
Codes
|  | WC: | Gessi 37513.518
|  | Cistern: | Wisa W-XS EX
|  | Flush plate: | XS Control Panel Delos
Glass DF-white
Finish
|  | WC: | 518 White Europe Ceramic
|  | Panel: | Temple white glass
|  | Origin |  | *image serves as reference
|  | WC: | Italy
|  | Cistern: | Netherland
7 | Bidet | Description: | Bidet mixer, with 1 1/4" |  |  |  |  | No |  | 3
pop-up waste and flexible
hoses with 3/8"
connections. Wall hung
bidet in in White Europe
Ceramic with overflow
waste, with central hole
for taps and fittings.
Overflow cap and side
covering caps included
in 080 finishings.
*image serves as reference
Codes
|  | Fitting: | Gessi 31107.08
|  | WC: | Gessi 37515.518
Finish
|  | Fitting: | 080 Gold CCP
|  | WC: | 518 White Europe Ceramic
|  | Origin: | Italy | *image serves as reference
8 | Shower Head | Description: | Ceiling-mounted |  |  |  |  | No |  | 315
adjustable and
antilimestone
showerhead, 269 mm
length, 1/2" connections.
|  | Code: | Gessi 31251.080
|  | Finish: | 080 Gold CCP
|  | Origin: | Italy
*image serves as reference
9 | Basin Mixer | Description: | Mixer for basins with a |  |  |  |  | No |  | 626
height between 120 and
200 mm, 1 1/4" pop-up
waste and flexible hoses
with 3/8" connections.
Projection 177 mm.
|  | Code: | Gessi 11987.080
|  | Finish: | 080 Gold CCP | *image serves as reference
|  | Origin: | Italy
10 | Shower Mixer | Description: | External parts for |  |  |  |  | No |  | 313
thermostatic mixer with
3/4" connections, filters
and 1/2" two-way diverter
with ceramic discs &
built-in part for two-way
thermostatic mixer.
Shower set composed by
|  |  | 1/2" connection water | *image serves as reference
outlet, shower hook,
antilimestone
handshower with
neoperl chromalux
supreme brushed nickel
1500mm flexible hose with
conical hexagon rotating
connection.
|  | Code: | Gessi 09257.031
Gessi 31234.080
Gessi 31223.080
Neoperl NEFHS-60-GD
|  | Finish: | 080 Gold CCP
|  | Origin: | Italy
11 | Toilet Roll Holder | Description: | Wall-mounted paper roll |  |  |  |  | No |  | 643
| Holder |  | holder with cover
|  | Code: | Gessi 33249.080
|  | Finish: | 080 Gold CCP
*image serves as reference
|  | Origin: | Italy
|  | Quantity: | 2 per ensuite/guest w.c
12 | Robe Hook | Description: | Wall mounted robe hook |  |  |  |  | No |  | 638
|  | Code: | Gessi 33321.080
|  | Finish: | 080 Gold CCP
|  | Origin: | Italy | *image serves as reference
13 | Tower Rail | Description: | 30 cm centre distance |  |  |  |  | No |  | 316
towel rail, width 64 cm
|  | Code: | Gessi 33303.080
|  | Finish: | 080 Gold | *image serves as reference
|  | Origin: | Italy
14 | Tower Rail | Description: | 30 cm centre distance |  |  |  |  | No |  | 9
towel rail, width 49cm
|  | Code: | Gessi 33303.080
*image serves as reference
|  | Finish: | 080 Gold
|  | Origin: | Italy
15 | Hand bidet | Description: | Shut-off douchette with |  |  |  |  | No |  | 349
1/2" pipe connection.
|  | Code: | Gessi 20021.149
|  | Finish: | 080 Gold
|  | Origin: | Italy
*image serves as reference
16 | Sink | Description: | Teka bowl insert sink c/w |  |  |  |  | No |  | 36
waste kits & 1 1/2" brass
chromed bottle trap
with 300mm overflow
pipe
|  | Size: | 390mm x 180mm
Code
|  | Sink: | Orion BE 39
|  | Trap: | Orion BTP-BCP-38
*image serves as reference
Finish
|  | Sink: | Stainless steel
|  | Trap: | Chrome
17 | Tap | Description: | Wall-mounted spout, |  |  |  |  | No |  | 30
1/2" connections with
separate control.
Projection 211 mm.
External parts for 1/2"
built-in stop valve with
|  |  | built-in part for stop | *image serves as reference
valve.
|  | Code: | Gessi 09109.031
Gessi 31266.031
Gessi 31203.031
|  | Finish: | 031 Chrome
|  | Origin: | Italy
18 | Bath Mixer | Description: | Three-hole bath mixer |  |  |  |  | No |  | 309
with diverter in the spout,
1.50 m flexible hose and
pull-out antilimestone
handshower
|  | Code: | Gessi 31137.080
*image serves as reference
|  | Finish: | 080 Gold CCP
|  | Origin: | Italy
19 | Basin Mixer | Description: | Ceiling-mounted spout, |  |  |  |  | No |  | 36
length on request (min 130
max 1880 mm) with
external parts for built-in
mixer, with 1/2"
connections, Ø35
cartridge, one-way,
built-in part for one-way
mixer.
|  | Code: | Gessi 31209.080
Gessi 13312.031
Gessi 31105.080
|  | Finish: | 080 Gold
|  | Origin: | Italy
*image serves as reference
20 | Floor Trap | Description: | Aco 'tile' stainless steel |  |  |  |  | No |  | 313
shower channel of
|  | Dimension: | Cut to size
*image serves as reference
21 | Floor Trap | Description: | Squareflo #SQ101 floor
trap
|  | Code: | #SQ101
|  | Dimension: | 130mm x 130mm
same items
*image serves as reference
22 | Freestanding | Description: | External parts for |  |  |  |  | No |  | 4
| bath mixer |  | freestanding external
bath mixer with
handshower and built-in
part for freestanding
bath mixer.
|  | Code: | Gessi 24974.080
Gessi 24973.031
|  | Finish: | 080 Gold CCP
|  | Origin: | Italy | *image serves as reference
23 | Pillar sink tap | Description: | Brass chromed lever |  |  |  |  | No |  | 6
handle pillar sink tap with
swivel spout, quarter-turn
ceramic cartridge and
anti-splash soft-flow
aerator.
|  | Code: | Orion ME64952
|  | Finish: | Chrome
*image serves as reference
24 | Grab bar | Description: | Sonia grab bar |  |  |  |  | No |  | 345
|  | Code: | #118175
|  | Dimension: | 600mm
|  | Finish: | Stainless steel
*image serves as reference
25 | Make up | Description: | Square wall-mounted |  |  |  |  | No |  | 314
| Mirror |  | cosmetic mirror with LED
light(8"x8").
|  | Code: | Orion 41108
|  | Dimension: | 325mm(L) X 307mm(H)
*image serves as reference
|  | Features: | 3x magnification
|  | Finish: | Chrome
26 | Accessories | Description: | TIssuance and accessories |  |  |  |  | No |  | 317
box. Ceramic with hand
painted detaling 'jewel
like'
*image serves as reference
27 | Shower
Screen
Ironmongery
[8 empty] | No |  | 1252
[8 empty] | No |  | 626
[8 empty] | No |  | 626
[8 empty] | No |  | 626
[8 empty] | No |  | 626
28 | Basin | Description: | Kohler #K-14223 Caravan | [6 empty] | 16
Collection Persia on
conical bell above
counter basin
|  | Diameter: | 413mm
29 | WC | Description: | Duravit #216001 | [6 empty] | 16
Durastyle 2-pc WC with
seat and cover set
|  | Cistern: | 3 litres and 6 litres
|  | Flush system: | Dual flush system
30 | Urinal | Description: | Duravit # 082625 Stark 3 | [6 empty] | 11
wall mounted urinal
bowl with visible inlet,
inlet spud, ceramic
cover for waste, bottle
trap and fixings
|  | Flush valve: | Rigel #FU-102P Urinal
touch flush valve,
exposed type (push
button)
Litres per
|  | flush: | 1.5 litres
31 | Basin | Description: | Duravit #075150 Starck 3 | [6 empty] | 2
wall mounted handrinse
basin with fischer bolts
|  | Dimension: | 500mm x 260mm
|  | Bottle trap: | 1-1/4" chrome plated
brass basin bottle trap
*image serves as reference
32 | Basin Mixer | Description: | Kohler #K-210T-CP | [6 empty] | 16
Falling Water wall mount
lavatory faucet
|  | Bottle trap: | 1-1/4" chrome plated
brass basin bottle trap
33 | Hand Bidet | Description: | Kottman Shattaf set with | [6 empty] | 16
handspray, flexible hose,
wall bracket and square
angle valve complete
set
34 | Toilet Roll | Description: | Toilet paper roll holder | [6 empty] | 16
| Holder |  | with cover
|  | Code: | Orion DP6910
35 | Floor Trap | Description: | Squareflo #SQ101 floor |  |  |  |  | No |  | 662
trap
|  | Code: | #SQ101
|  | Dimension: | 130mm x 130mm
*image serves as reference
36 | Soap | Description: | Soap dispenser | [6 empty] | 4
Dispenser
|  | Code: | Orion DP6909
*image serves as reference
37 | Hand Dryer | Description: | Automatic hand dryer | [6 empty] | 4
SU304 stainless steel
satin finish
|  | Code: | Oirion HK-1800SRA
*image serves as reference
38 | Grab Bar | Description: | Rigel #GB-21 L shaped | [6 empty] | 2
grab bar in stainless steel
finish
*image serves as reference
39 | Grab bar | Description: | Rigel #GB-800 Swing up | [6 empty] | 2
grab bar in stainless
steel finish
*image serves as reference
40 | Basin Mixer | Description: | Hansgrohe #32035 Talis | [6 empty] | 2
single lever basin mixer
with extra long handle
and pop-up waste
|  | Bottle trap: | 1-1/4" chrome plated
brass basin bottle trap
41 | Cubical | Description: | Ceiling hung cubical
| System |  | system
|  | Series: | Monitor with fixed panel
above door
Standard
|  | cubical size: | 900mm(W) x 1800mm(D)
x 2800mm (H)
|  | Door size: | 600mm x 1800mm
Intermediate
|  | Pilaster: | 300mm x 2550mm
|  | End pilaster: | 150mm x 2550mm
Dividing
|  | panel: | 1800mm x 1800mm
|  | Urinal panel: | Wall mounted urinal
|  | Dimension: | 450mm(W) x 1200mm(H)
|  | Laminate: | Formica UN Silent Walnut
|  | Ironmongeries: | A114 stainless steel gravity
hinges
A108 stainless steel
indicator bolt
A127 stainless steel L-
bracket
A111 Stainless steel coat
hook cum door step
A |  |  | 10MM THICK TEMPERED GLASS SHOWER SCREEN WALL COMPLETE WITH SETTING BLOCK, SILICONE SEALANT | [5 empty] | m2 | 2218
B |  |  | 20MM THICK 'AL ROYAL CREAM OR OTHER EQUAL AND POLISHED MARBLE TO BATH APRON OVERALL SIZE 2500MM X 1195MM X 600MM HIGH WITH 2 NOS TREAD OF STEPS INCL. CONCRETE SUPPORT, APPROVED SUB FRAME, BRACKETS FOR BATH TUB MOUNTING, MARINE PLYQOOD BACKING WITH TIMBER STUD, ACCESSORIES AND SEALED WITH APPROVED SEALANT COMPLETE WITH 300MM X 600MM ACCESS PANEL | [5 empty] | No | 2
C |  |  | 20MM THICK 'AL ROYAL CREAM OR OTHER EQUAL AND POLISHED MARBLE TO BATH APRON OVERALL SIZE 1700MM X 1195MM X 540MM HIGH INCL. CONCRETE SUPPORT, APPROVED SUB FRAME, BRACKETS FOR BATH TUB MOUNTING, MARINE PLYQOOD BACKING WITH TIMBER STUD, ACCESSORIES AND SEALED WITH APPROVED SEALANT COMPLETE WITH 300MM X 600MM ACCESS PANEL | [5 empty] | No | 307
13191